RESET FACP PRIOR TO HVAC

AUTO CNTRL LATCH RESET

RESET FACP PRIOR TO HVAC

AUTO CNTRL LATCH RESET

AUTO CNTRL LATCH RESET

AUTO CNTRL LATCH RESET

RUN

RUNNING

CLOSED

CLOSE

AUTO CNTRL LATCH ACTIVE

AUTO CNTRL LATCH ACTIVE

AUTO

TROUBLE

TROUBLE

AUTO

HVAC FIRE ALARM

CONTROL BYPASS

HVAC FIRE ALARM

CONTROL BYPASS

STOP

STOPPED

OPENED

OPEN

LAMP TEST

HEARTBEAT

LAMP TEST

HEARTBEAT

INSERT RGB VALUES

GREY – R:128 G:128 B:128

LIGHT BLUE – R:0 G:176 B:240

DARK BLUE – R:84 G:141 B:212

RED – R:255 G:80 B:80

YELLOW – R:255 G:255 B:0

WHITE – R:255 G:255 B:255